Annex 1

Price Schedule Form

(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery)

### Procurement of Generator, diesel, water cooled,100kVA.

### Reference No. LRFQ-2026-9203830

Currency: International companies in US$ National companies in Kyrgyz Som

DATE: _______

| No. | Description / Specification of Goods | Measure unit | Q-ty | Model, Country of origin and technical specifications of offered items | Latest Delivery Date | Unit Price | Total Price per Item |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Genset, diesel, water cooled,100kVA 50Hz Дизель-генератор мощностью 100 кВА, 50 Гц | Pcs | 1 |  |  |  |  |
| 2 | Automatic Transfer Switch (ATS) for Diesel Generator set ATS (автоматический переключатель) для дизель-генераторной установки | Pcs | 1 |  |  |  |  |
| 3 | Automatic Mains Failure panel Панель автоматического отключения питания | Pcs | 1 |  |  |  |  |
|  | Delivery to the National Vaccine Warehouse in Bishkek Доставка в Национальный склад для вакцин в г. Бишкек |  | 1 |  |  |  |  |
|  | Installation (will take place after the completion of the warehouse construction, approximately in June 2027) Установка (будет осуществляться после завершения строительства склада примерно в июне 2027 года) |  | 1 |  |  |  |  |
| Total Final and All-Inclusive Price Quotation (please specify currency) / Общая окончательная цена (пожалуйста, укажите валюту) |  |  |  |  |  |  |  |

Bid Validity (min 60 days): ________________(days)

Delivery period (maximum 25 calendar days): _____________ (days)

Name of Bidder: _________________________________________

Authorized signature: _____________________________________

Name of authorized signatory: ______________________________

Functional Title: __________________________________________

Stamp